## Slide 1: Design and Development of wearable medical smartwatcheS
PulsECG
REINERI MATTEO

## Slide 2: INDEX
State of Art
PulsECG today
PulsECG tomorrow: activity description
R&D process
Testing
Next steps

## Slide 3: State of Art
Main functions of smartwatches on the market
A small window on the smartphone: User can see calls and notifications
Fitness tracker for any sport played: The device can read gps, speed and other moving informations
Important tool for personal knowledge: User can see his main vital parameters (heartbeat, calories, blood oxygenation, …)
Part of a data sharing ecosystem with:
other personal devices (smartphone, pc, …)
Professional (doctors, trainers, …)
Today a smartwatch can be:

## Slide 4: Pulsecg today
pulsecg features before the activity
Pulsecg is a smartwatch that:
measures ecg and blood oxygenation of the user
Sends the information to the smartphone through the application called "Pulsecg“
the application show data in plots, Shareable with whomever you wish

## Slide 5: Pulsecg tomorrow: activity description
what pulsecg can do at the end of the activity
FEATURES ADDITION:
BODY TEMPERATURE MEASUREMENT
2) MOTION DETECTION
3) OTHER MINOR IMPROVEMENTS FOR A BETTER USER EXPERIENCE
WHAT IS NEED:
research for new components
Hardware design
3) production, test and validation

## Slide 6: R&D process
research for new components
RESEARCH ACTIVITY strongly inFLuenced by the great raw material
emergency we have been experiencing in recent years.
MAIN COMPONENT CHOICE:
Microcontroller CC2640R2F: already present in the first pulsecg version
Confirmed also all the components relative to ecg, ppg measurements and power management
Maxim MAX30205 temperature sensor
Ideal for wearable fitness and medical applications
Memsic MXC6655XA accelerometer
12-bit resolution, ±2g/±4g/±8g ranges. No need of special technical constraints, beacuse it will be used to detect normal movements (i.e. falls).

## Slide 7: R&D process
Hardware design
Maxim MAX3025 temperature sensor
Ideal for wearable fitness and medical applications
Memsic MXC6655XA accelerometer
12-bit resolution, ±2g/±4g/±8g ranges
DEDICATED BOARD:
Better sensor exposure
Connection with the mainboard studied to not increase the surface of the watch
INSIDE THE MAINBOARD:
Better stability inside the smartwatch case

## Slide 8: R&D process
production
Production and assembly of the boards done by www.pcbway.com
+
+
=
ECG/MAIN BOARD
Very similar to the previous version.
News:
Accelerometer
Temperature board connector
New JTAG interface
Some power management improvements
TEMPERATURE BOARD
All components in one layer.
The smooth layer is the first interface with the body user (finger, wrist)
PPG BOARD
Not modified
NEW PULSECG
The assembly of the three boards.

## Slide 9: TESTING
NON REGRESSION TEST
ECG AND PPG ACQUISITION THROUGH THE APPLICATION.
OUTPUT:
ECG and PPG measurements are performed correctly.
GOAL:
Make sure that ECG and PPG measurements continue to give the same results as the previous version

## Slide 10: TESTING
ACCELERATIONS TEST
FREE FALL SIMULATION (10 seconds of registration)
NOTES:
The accelerometer always read the gravity force on its vertical axis. During the fall, this force is avoided.
During the test, was measured an offset of -0.25g along Z axis.
It was compensated during matlab elaboration.

## Slide 11: TESTING
temperature TEST
Finger temperature measurement (1m30s of registration)
NOTES:
Different ambient temperatures (31°C vs 27°C) lead to completely different measurements (36.1°C vs 33°C) with the same user and similar body conditions.
MAIN DEPENDENCIES:
Ambient
User (age, gender)
Training / physical activity
Nutrition

## Slide 12: NEXT STEPS
OBSERVATIONS AND POSSIBLE IMPROVEMENTS
ACCELEROMETER
Firmware and application integration in order to:
Improve the energy management (inactivity detection)
Improve the medical measurements (warn for measurement in non-resting condition
TEMPERATURE
Study and analysis for a better body temperature estimation:
Liebermeister’s rule: correlation between heart beat and temperature
IN GENERAL
Addition of new features like:
A display with the main info (hour, heart beat, temperature)
GPS module for live tracking
Adding a flash memory in order to improve data management

## Slide 13: THANK YOU

## Slide 14: TESTING
PROCEDURE TEST FOR ACCELEROMETER AND TEMPERATURE SENSOR
STEPS:
WRITE THE FIRMWARE IN CODE COMPOSER STUDIO (CCS)
CONNECT PULSECG WITH pc/ccS AND RUN IT IN DEBUG MODE
3A) TOUCH THE TEMPERATURE BOARD DURING EXECUTION (TEMP. TEST)
3b) LEAVE THE BOARD IN FREE FALL DURING EXECUTION (ACC. TEST)
SAVE THE TEMPERATURE/ACCELEROMETER REGISTER VALUE IN TeXT FILE
5) USE A MATLAB SCRIPT FOR data ELABORATION
1
3A
4
5