## Slide 1: Electric Propulsion Diagnostic Package Development and Thruster Characterisation
ELENA GERMANO
LUGLIO 2023

## Slide 2: Thrust balance
Double pendulum thrust balance:
Noise suppression using differential measurement
Theoretical resolution under 0.1 µN
Range of 0-4800 µN
Laser interferometer measures the displacement
  Tracks the movement of a mirror on each pendulum

## Slide 3: Interferometer
Some issues arose:
Instability of the alignment during transition from atmosphere to vacuum
The proposed solution:
New design: components directly bonded to baseplate

## Slide 4: 1. Building the Interferometer
Frequency generation setup Provide the correct frequency and polarization for the laser beams.
Alignment and gluing Implement the functionality of the device through the arrangement of the optical and electronic components

## Slide 5
Laser
Spacer
Fiber launchers
Beam splitters
Mirror
Photodiodes
Acousto-optic modulators
Laser source
Polarization maintaining optical fibers

## Slide 6
Laser
Spacer
Fiber launchers
Beam splitters
Mirror
Photodiodes
Epoxy used:
UHU Plus Schnellfest (5 minutes curing time)
UHU Plus Endfest 300 (90 minutes curing time)
Alignment results:
Polarization error < 3°
Out-of-plane angle < 0.3 mrad
Values perfected during curing

## Slide 7
Laser
Spacer
Fiber launchers
Beam splitters
Mirror
Photodiodes
Active alignment:
Closed-loop control
Optimize position and angle
  Position error < 50 μm
  Angle error < 50 μrad
Active alignment:
Closed loop control
Optimize angle
  Angle error < 10 μrad
5 μrad
25 mm
125 nm

## Slide 8
Laser
Spacer
Fiber launchers
Beam splitters
Mirror
Photodiodes
Single photodiode PCB
Quadrant photodiode PCB
Alignment:
  Photodetectors in the center of the laser beams
Data:
  USB connection

## Slide 9: 2. Design, integration and testing
Create the mechanical interface Provide the correct spacing and protection to the devices.
Create the software interface Implement the functionality of the device through the acquisition and processing of the data.
Testing of the device Verify the correct operation of the device both in air and in vacuum.

## Slide 10: Proposed design
Covers both for the individual device and for the setup
Software interface in Labview
  Read and process data in real time
  Graphical user interface
  Performance evaluation & thrust measurement

## Slide 11: Test setup
External mirrors
Fiber-to-fiber connectors
USB hub
Measurement interferometer
Reference interferometer

## Slide 12: Differential path length measurement
Demonstration of the alignment stability in vacuum
Demonstration of the noise suppression from the differential measurement
Noise floor level under 1 nm/√Hz in a wide frequency band (3 mHz - 1 Hz)

## Slide 13: Main results and next steps
Demonstration of excellent alignment stability in vacuum
Noise levels < 1 nm/√Hz between 3 mHz and 1 Hz
8 interferometers built so far using this method
Commissioning of the new interferometers on the thrust balance
Thruster tests will start soon
New thrust balance using the small interferometer
Interferometer to be used for research on acquisition tests and inter-satellite laser ranging

## Slide 14: Thank you for your attention