## Economic Analysis
|  | Design |  | Design | Cooling Demand | Cooling Saving Rate | COP | Electrical Saving (kWh/year) | Economic Savings (€) | PV Cost per Wp (€) | Installed Capacity (kWp) | Installation Costs (€) | Cooling Savings (kWh/year) | PV Production (€) | Total Cost (€) | Annual Economic Benefit (€) | Payback Period (years) | ROI (%) | PV Production (kWh/year)
|  | Residential | Design 1 | South | 63.6183 | 0.25 | 3 | 5.3015 | 1.5905 | 0.3 | 1 | 500 | 15.9046 | 51.18 | 551.18 | 52.7705 | 10.4449 | 91.4818 | 170.6
|  |  |  | South-West | 63.6183 | 0.15 | 3 | 3.1809 | 0.95427 | 0.3 | 1 | 500 | 9.5427 | 62.841 | 562.841 | 63.7953 | 8.8226 | 126.6902 | 209.47
|  |  |  | South-East | 63.6183 | 0.15 | 3 | 3.1809 | 0.95427 | 0.3 | 1 | 500 | 9.5427 | 67.56 | 567.56 | 68.5143 | 8.2838 | 141.4345 | 225.2
|  | Residential | Design 2 | South | 63.6183 | 0.25 | 3 | 5.3015 | 1.5905 | 0.3 | 1 | 700 | 15.9046 | 95.079 | 795.079 | 96.6695 | 8.2247 | 143.1694 | 316.93
|  |  |  | South-West | 63.6183 | 0.15 | 3 | 3.1809 | 0.95427 | 0.3 | 1 | 700 | 9.5427 | 166.557 | 866.557 | 167.5113 | 5.1731 | 286.6134 | 555.19
|  |  |  | South-East | 63.6183 | 0.15 | 3 | 3.1809 | 0.95427 | 0.3 | 1 | 700 | 9.5427 | 173.658 | 873.658 | 174.6123 | 5.0034 | 299.7268 | 578.86
|  | Residential | Design 3 | South | 63.6183 | 0.25 | 3 | 5.3015 | 1.5905 | 0.3 | 1 | 700 | 15.9046 | 117.765 | 817.765 | 119.3555 | 6.8515 | 191.9065 | 392.55
|  |  |  | South-West | 63.6183 | 0.15 | 3 | 3.1809 | 0.95427 | 0.3 | 1 | 700 | 9.5427 | 90.174 | 790.174 | 91.1283 | 8.671 | 130.6537 | 300.58
|  |  |  | South-East | 63.6183 | 0.15 | 3 | 3.1809 | 0.95427 | 0.3 | 1 | 700 | 9.5427 | 108.519 | 808.519 | 109.4733 | 7.3855 | 170.7995 | 361.73
|  | Commercial | Design 4 | South | 119.2843 | 0.25 | 3 | 9.9404 | 2.9821 | 0.3 | 1 | 1000 | 29.8211 | 269.685 | 1269.685 | 272.6671 | 4.6565 | 329.5035 | 898.95
|  |  |  | South-West | 119.2843 | 0.15 | 3 | 5.9642 | 1.7893 | 0.3 | 1 | 1000 | 17.8926 | 173.877 | 1173.877 | 175.6663 | 6.6824 | 199.2925 | 579.59
|  |  |  | South-East | 119.2843 | 0.15 | 3 | 5.9642 | 1.7893 | 0.3 | 1 | 1000 | 17.8926 | 179.79 | 1179.79 | 181.5793 | 6.4974 | 207.8162 | 599.3
|  | Commercial | Design 5 | South | 119.2843 | 0.25 | 3 | 9.9404 | 2.9821 | 0.3 | 1 | 1000 | 29.8211 | 433.281 | 1433.281 | 436.2631 | 3.2854 | 508.7614 | 1444.27
|  |  |  | South-West | 119.2843 | 0.15 | 3 | 5.9642 | 1.7893 | 0.3 | 1 | 1000 | 17.8926 | 204.27 | 1204.27 | 206.0593 | 5.8443 | 242.2144 | 680.9
|  |  |  | South-East | 119.2843 | 0.15 | 3 | 5.9642 | 1.7893 | 0.3 | 1 | 1000 | 17.8926 | 401.457 | 1401.457 | 403.2463 | 3.4754 | 475.4672 | 1338.19
|  | Commercial | Design 6 | South | 119.2843 | 0.25 | 3 | 9.9404 | 2.9821 | 0.3 | 1 | 1500 | 29.8211 | 563.265 | 2063.265 | 566.2471 | 3.6438 | 448.8845 | 1877.55
|  |  |  | South-West | 119.2843 | 0.15 | 3 | 5.9642 | 1.7893 | 0.3 | 1 | 1500 | 17.8926 | 265.551 | 1765.551 | 267.3403 | 6.6041 | 202.8406 | 885.17
|  |  |  | South-East | 119.2843 | 0.15 | 3 | 5.9642 | 1.7893 | 0.3 | 1 | 1500 | 17.8926 | 521.892 | 2021.892 | 523.6813 | 3.8609 | 418.0111 | 1739.64
|  | Room: 4m x 5m |  | 20
|  | Window: 2m x 2m |  | 4
| Cooling demand: |  | Residential ( kWh/m²/year​) |  | 63.6183
|  |  | Commercial ( kWh/m²/year​) |  | 119.2843
EER=5.03
COP=3.02
Consumption demandkWh/m²y
Office | Heating | 161
| Cooling | 10
| ACS | 22
| Lighting | 39
Residential | Heating | 152
| Cooling | 16
| ACS | 26
| Lighting | 5
Commercial | Heating | 150
| Cooling | 30
| ACS | 25
| Lighting | 40